#### GENERAL SAFETY RULES

1.	Always store materials in a safe manner.  Tie down or support stacks of materials, if necessary, to	 prevent falling, rolling or shifting.

2.	Do not block aisles, traffic lanes, fire exits, ramps or stairs.

3.	Avoid shortcuts - use ramps, stairs, walkways, ladders, etc.

4.	Do not use tools with split, broken or loose handles, burred or mushroomed heads.  Keep cutting tools sharp and carry all tools in a container.

5.	All electrical power knives and other cutting tools, extension cords and equipment shall be properly grounded.

6.	All electrical equipment and cords shall be properly insulated.  Damaged cords shall be replaced.

7.	Know the location and use of fire extinguishing equipment and the procedure for 	sounding a fire alarm.

8.	Flammable liquids shall be used only in small amounts at the job location and in approved safety cans.

9.	Proper guards or shields must be installed on all power tools and equipment before use.  Do not use any power tools and equipment without the guards in their proper working condition.

10.	Do not operate any power tool or equipment unless you are trained in its operation and authorised by your firm to do so.

11.	Use equipment / tools only for their designed purpose.

12.	Do not remove, deface or destroy any warning, danger sign or barricade, or interfere with any form of protective device or practice provided for your use or which other workers are using.

(Customise this page by adding any additional responsibilities and deleting those that may not apply to your company.)